RUSSIAN FEDERATION

14 Kalinina St., Novoivanovskoe Workers Settlement,

Odintsovsky District, Moscow Region, 143026

OAO REP Nemchinovka (OJSC REP Nemchinovka)

Open Joint Stock Company

NEMCHINOVKA OPERATING AND MAINTENANCE ENTERPRISE

Tel./Fax 591-92-00

Call center 591-87-90 (24 hr.)

No. 220 dated 24.03.2009

Review

of Services Rendered by ZAO Ekspertiza Kommunalnykh Setei (CJSC Expert Evaluation of Utility Networks) in the Sewage Header of the Town of Nemchinovka

A comprehensive inspection of a reinforced concrete sewage header (700-800 mm in diameter and over 1.5 km long) was performed in Nemchinovka in October 2008. These activities were conducted during header operation and did not involve shutdown of the sewage water discharge.

Six old manholes were located, and 23 chambers were inspected with subsequent preparation of drawings. Flow rates were measured, and a video film was made of the condition of internal surfaces and the extent of header plugging.

The results obtained allow planning of further header operation.

General Director OAO REP Nemchinovka (OJSC REP Nemchinovka)
A.F. Troshin